## Modifications
Carbon Capture and Storage Code Modification Register
Last updated 20 January 2026
Modification | [6 empty] | Overview
Modification | Title | Proposer | Date raised | Path | Specific Provisions | Current stage | Issue | Solution | Latest progress/Implementation Date
CCS001 | Clarification of CO2 venting between Metering Point and Delivery Point | Helen Moon (Protos ERF CCS Limited) | 2025-06-27 | Regulator determined | No | Implemented | For Users that do not have the Delivery Point immediately downstream of the Metering Point there will be a length of pipework between the Metering Point and the Delivery Point. In the case that the Measurement Equipment detects an off-spec CO2 event, the valves at the Metering Point will close, as well as those at the AGI. This will leave a section of pipework containing potentially off-specification CO2. The drafting of 10.11 creates a potential conflict with Annexure H Isolation Terms of Reference. | To prevent potential damage to the T&S Network and clarify the Code drafting an amendment to this clause is required. | At the Modification Panel meeting on 10 September 2025, members recommended to the Regulator that this modification should be approved. On 5 November 2025 the Regulator directed the Secretary to implement the modification into the Network Code. This modification was implemented on into Version 1.3 of the Network Code on 6 November 2025.
CCS002 | Modification Panel Chair expenses reimbursement | Neal Gray-Wannell (Northern Endurance Partnership) | 2025-07-22 | Self- Governance | No | Implemented | Currently, Section B ‘Governance’ 7.8 details T&SCo’s responsibilities for funding costs incurred by the Secretary but does not make any provisions for reimbursement of the Panel Chairperson. In the course of their duties as Panel Chairperson, they may incur costs which need to be reimbursed. This will also apply to anyone appointed as the Deputy Panel Chairperson. | To update Section B to include a mechanism whereby T&SCos are jointly responsible for funding an equal proportion of the costs incurred by the Panel Chairperson as they carry out the various tasks and duties of the role. | This modification was implemented into Version 1.5 of the Network Code on 15 January 2026
CCS003 | Housekeeping Changes - Tranche 1 | Neal Gray-Wannell (Northern Endurance Partnership) | 2025-08-22 | Self- Governance | No | Implemented | Errors in the Code have been identified by Parties, noted as non-material and notified to the Secretary to be included in this Modification. | This Modification aims to correct various parts of the Code as part of a suite of housekeeping changes as well as the creation of a new defined term omitted in the original legal text. | This modification was implemented into Version 1.5 of the Network Code on 26 February 2027
CCS004 | Northern Endurance Partnership Annexure B Part 1 Update | Neal Gray-Wannell (Northern Endurance Partnership) | 2025-10-13 | TBC | Yes | Work Group | Annexure B Part 1 was inadvertently not updated to match the NEP CO2 Pipelines Entry Specification Document. As such, the Annexure B Part 1 no longer represents the NEP CO2 specification that has been widely communicated to users. | The proposal is to update Annexure B to ensure that is consistent with the current, and widely understood NEP CO2 Pipelines Entry Specification. | This modification was presented at the CCS Network Code Modification Panel on 12 November 2025. The Proposer is making amendments to the Legal Text. Conversations between DESNZ and the Proposer are still ongoing
CCS005 | Northern Endurance Partnership Annexure C Part 1 Update | Neal Gray-Wannell (Northern Endurance Partnership) | 2025-10-31 | Fast Track Self-Governance | Yes | Implemented | Minor errors have been identified in Annexure C Part 1 which could cause confusion or uncertainty. | Amend the minor errors. | This modification was implemented into Version 1.4 of the Network Code on 8 December 2025